## AHS
|  | L | s | L/s |  | Weir (gal/d) | Weir (L/s) |  | ISCO level (m) | (ft) | time |  |  | adjusted m (-.0132) | L/s
2018-04-20 |  | 4 | 1.95 | 2.0513 |  | 56730 | 2.4852 |  | 0.093574 | 0.307 | (set arbitrarily at 0.30 ft) |  |  | 0.058574 | 2.3225
|  | 4 | 1.93 | 2.0725 |  |  |  |  | 0.090526 | 0.297 |  |  |  | 0.055526 | 2.0694
|  | 3.5 | 1.41 | 2.4823 | [10 empty] | 2.196
|  | 3.5 | 1.56 | 2.2436
|  | 3 | 1.27 | 2.3622
2.2424
[9 empty] | 0.19842 | 0.651 | 14:38 |  |  | 0.16342 | 16.5868
2018-04-26 |  | ~4 gal in 2 s? | [6 empty] | 0.17739 | 0.582 | 15:12 |  |  | 0.14239 | 12.8598
|  | 17 | 2 | 8.5 |  | nd |  |  | 0.17831 | 0.585 | 15:40 |  |  | 0.14331 | 13.0128
2018-04-28 |  | ~ 4 gal | 6.16 | 2.7597 |  | 60830 | 2.6648 |  | 0.096317 | 0.316 | 13:30 |  |  | 0.061317 | 2.5581
|  |  | 6.12 | 2.7778 |  |  |  |  | 0.094488 | 0.31 |  |  |  | 0.059488 | 2.4002
|  |  | 6.05 | 2.8099 | [10 empty] | 2.4792
|  |  | 6.28 | 2.707
2.7636
2018-05-03 |  |  | 7.6 | 2.2368 |  | 45820 | 2.0073 |  | 0.055 |  | 13:32 | (set from 0.090) |  | 0.055 | 2.0267
|  |  | 7.65 | 2.2222
2.2295
2018-05-09 |  |  | 15.34 | 1.1082 |  | 28460 | 1.2468 |  | 0.043 |  | 13:45 |  |  | 0.043 | 1.125
2018-05-15 |  |  | 38.5 | 0.44156 |  | 13780 | 0.6037 |  | 0.033 |  | 8:50 |  |  | 0.033 | 0.48175
2018-05-22 |  |  | 97.4 | 0.17454 |  | 5046 | 0.2211 |  | 0.027 |  | 9:10 |  |  | 0.027 | 0.19298
Aubuchon pail calibration
|  |  |  | 4.7318 | L/qt | [10 empty] | 2 L | 1.854 | 0.927
[16 empty] | 4 L | 3.745 | 0.93625
| Bucket | adj Bucket | Weir | ISCO | ISCO | Weir | [11 empty] | 93.16% | lower
Elise | L/s | L/s | L/s | L/s | m | GPD
2018-04-20 | 2.2424 | 2.0891 | 2.4852 | 2.196 | 0.058574 | 56730
2018-04-26 | 8.5 |  |  |  | 0.17 | nd
2018-04-28 | 2.7636 |  | 2.6648 | 2.4792 | 0.061317 | 60830
2018-05-03 | 2.2295 |  | 2.0073 | 2.0267 | 0.055 | 45820
2018-05-09 | 1.1082 |  | 1.2468 | 1.125 | 0.043 | 28460
2018-05-15 | 0.44156 |  | 0.6037 | 0.48175 | 0.033 | 13780
2018-05-22 | 0.17454 |  | 0.2211 | 0.19298 | 0.027 | 5046
2018-05-29 | 0.092391 |  |  |  | 0.023 | 2440
2018-06-07 |  | 0.032348 |  |  | 0.023 | 1458
2018-06-12 |  | 0.033286 |  |  | 0.028 | 1916
2018-06-18 |  |  |  |  | 0.037 | 1458
2018-06-19 |  | 0.022458 |  |  | 0.036 | 1458
2018-06-22 |  | nd |  |  | 0.033 | 735
2018-06-26 |  | nd |  |  | 0.036 | 57
| Bucket | adj Bucket | adj ISCO | adj ISCO | adjustmnt | Weir | ISCO | ISCO | Weir
| L/s | L/s | L/s | m | m | L/s | L/s | m | GPD
2018-11-04 | 1.0365 | 1.1402 | 1.0563 | 0.042 | -0.006 | 1.1006 | 1.4835 | 0.048 | 25120
2018-11-07 | 1.6154 | 1.7769 | 1.6338 | 0.05 | -0.006 | 2.0075 | 2.1082 | 0.056 | 45820
2018-11-12 | 0.90715 | 1.2327 | 1.0563 | 0.042 | -0.006 | 1.1006 | 1.4835 | 0.048 | 25120
2018-11-18 | 0.41146 | 0.38348 | 0.30792 | 0.03 | -0.006 | 0.71327 | 0.66442 | 0.036 | 16280
2018-12-03 | 7.7626 | 10.5479 | 7.701 | 0.108 | -0.006 | 8.9404 | 8.5173 | 0.114 | 204060
2018-12-10 | 0.40132 | 0.54533 | 0.42282 | 0.032 | -0.006 | 0.60374 | 0.79112 | 0.038 | 13780
2018-12-13 | 0.22222 | 0.20711 | 0.16149 | 0.025 | -0.006 | 0.3693 | 0.36488 | 0.031 | 8429
2018-12-20 | 0.15766 | 0.14694 | 0.13283 | 0.023 | -0.006 | 0.23685 | 0.25194 | 0.029 | 5406
2018-12-29 | 1.0904 | 1.4817 | 1.3372 | 0.046 | -0.006 | 1.6846 | 1.788 | 0.052 | 38450
2019-01-26 | 1.8927 |  | 2.2742 | 0.058 | -0.006 | 2.4855 | 2.7957 | 0.064 | 56730
2019-02-01 | 0.5 | 0.466 | 0.16149 | 0.025 | -0.006 | 0.26143 | 0.36488 | 0.031 | 5967
2019-02-10 | 1.5487 | 1.4434 | 1.4099 | 0.047 | -0.006 | 1.5308 | 1.8666 | 0.053 | 34940
2019-02-20 | 0.15146 | 0.14116 | 0.16149 | 0.025 | -0.006 | 0.16154 | 0.36488 | 0.031 | 3687 | 0.006
2019-02-27 | 0.15207 | 0.14173 | 0.16149 | 0.025 | -0.009 | 0.16162 | 0.54166 | 0.034 | 3689 | 0.009
2019-03-06 | 0.048691 | 0.04538 | 0.063822 | 0.017 | -0.012 | 0.063879 | 0.25194 | 0.029 | 1458 | 0.012
2019-03-14 | 0.21764 | 0.29574 | 0.29665 | 0.0298 | -0.0122 | 0.48982 | 1.0563 | 0.042 | 11180 | 0.0122 | 0.0062
2019-03-17 | 0.91743 | 1.2466 | 1.2513 | 0.0448 | -0.0182 | 1.3823 | 2.7063 | 0.063 | 31550 | 0.0182 | 0.006
2019-03-27 | 0.99707 | 1.3548 | 1.3372 | 0.046 | -0.042 | 1.5308 | 5.2356 | 0.088 | 34940 | 0.042 | 0.0238
2019-04-07 | 0.64836 | 0.88101 | 0.88872 | 0.0395 | -0.1285 | 0.96694 | 17.4552 | 0.168 | 22070 | 0.1285 | 0.0865 |  | 1.0004
2019-04-07 | 0.65713 | 0.89293 | 0.88872 | 0.0395 | 0.0165 | 0.96694 | 0.13283 | 0.023 | 22070 | bubbler blown out
2019-04-24 | 1.2642 | 1.2642 | 1.2655 | 0.045 | 0.008 | 1.2469 | 0.72728 | 0.037 | 28460
2019-05-04 | 1.6406 | 1.6406 | 1.6338 | 0.05 | 0.015 | 2.3107 | 0.60255 | 0.035 | 52740
2019-05-09 | 0.46182 | 0.46182 | 0.45217 | 0.0325 | 0.0165 | 0.60374 | 0.054797 | 0.016 | 13780 | 0.014
2019-05-09 | 0.46182 | 0.46182 | 0.45217 | 0.0325 | 0.0025 | 0.60374 | 0.30792 | 0.03 | 13780 | ISCO level adjusted 11:35
2019-05-14 | 5.7178 | 5.7178 | 5.6972 | 0.092 | 0.008 | 5.1239 | 4.7896 | 0.084 | 116950 |  | 22 | days 2/20-3/14
2019-05-20 | 13.0508 | 13.0508 | 12.6282 | 0.141 | 0.008 |  |  | 0.133 | too high |  | 6336 | 5 minute periods over 22 days
2019-05-31 | 1.7073 | 1.7073 | 1.7104 | 0.051 | 0.001 | 1.6846 | 1.6338 | 0.05 | 38450 |  | 9.7854e-07 | adjustment per 5 minutes for a change of 0.0062 m
2019-06-05 | 0.90319 | 0.90319 | 0.92174 | 0.04 | 0 | 1.1006 | 0.92174 | 0.04 | 25120
2019-06-10 | 1.0601 | 1.0601 | 1.125 | 0.043 | 0 | 1.2469 | 1.125 | 0.043 | 28460 |  | 3 | days 3/14/-3/17
2019-06-24 | 1.0411 | 1.0411 | 1.0563 | 0.042 | 0.001 | 1.1006 | 0.98853 | 0.041 | 25120 |  | 864 | adjustment per 5 minutes for a change of 0.006 m
2019-06-28 | 0.531 | 0.531 | 0.54166 | 0.034 | 0.002 | 0.71327 | 0.42282 | 0.032 | 16280 |  | 7.9861e-06
2019-07-03 | 0.63498 | 0.63498 | 0.63336 | 0.0355 | 0.0025 | 0.71327 | 0.48175 | 0.033 | 16280
2019-07-19 | 0.094899 | 0.094899 | 0.095142 | 0.02 | 0 | 0.1069 | 0.095142 | 0.02 | 2440 |  | 10 | days 3/17-3/27
[11 empty] | 2880 | adjustment per 5 minutes for a change of 0.024 m
| Bucket | adj Bucket | adj ISCO | adj ISCO | adjustmnt | Weir | ISCO | ISCO | Weir |  | 8.2639e-06
| L/s | L/s | L/s | m | m | L/s | L/s | m | GPD | 0.018
2019-07-26 | dry | [9 empty] | 11 | days 3/27-4/7
2019-09-30 | still no flow |  | after bubbler blow out, zero adjusted by -0.002 to give 0.00 | [6 empty] | bubbler blown out, changed from 0.002 to -0.014 | 3201 | adjustment per 5 minutes for a change of 0.0865 m
2019-10-15 | no flow |  | adjusted from -0.003 to -0.015 | [7 empty] | 2.7023e-05
2019-10-21 | 0.020855 |  | 0.020282 | 0.011 | -0.009 | 0.032202 | 0.095142 | 0.02 | 735
2019-10-21 | 0.020855 |  | 0.020282 | 0.011 | 0 | 0.032202 | 0.020282 | 0.011 | 735 | wier adjusted and set to 0.011
2020-10-29 | 1.3465 |  | 1.2655 | 0.045 | 0 | 1.5308 | 1.2655 | 0.045 | 34940 | wier rotated slightly clockwise
2020-11-02 | 2.8281 |  | 2.8861 | 0.065 | 0.012 | 2.8487 | 1.8666 | 0.053 | 65020 | wier blown out and reinstalled
2020-11-02 | 2.8281 |  | 2.8861 | 0.065 | 0 | 2.8487 | 2.8861 | 0.065 | 65020 | bubbler blown out and reading adjusted
2020-11-16 | 0.027778 |  | 0.063822 | 0.017 | -0.01 | 0.046617 | 0.19298 | 0.027 | 1064
2020-11-23 | 3.8657 |  | 3.6444 | 0.073 | -0.01 | 3.8283 | 4.6806 | 0.083 | 87380
2020-12-08 | 0.27586 |  | 0.30792 | 0.03 | -0.01 | 0.3693 | 0.92174 | 0.04 | 8429
2020-12-20 | 0.27267 |  | 0.27981 | 0.0295 | -0.0115 | 0.26143 | 0.98853 | 0.041 | 5967
2020-12-20 | 0.27267 |  | 0.25194 | 0.029 | 0 | 0.26143 | 0.25194 | 0.029 | 5967 | bubbler blown out and reading adjusted
2020-01-06 | 2.454 |  | 2.4872 | 0.0605 | -0.0075 | 2.4855 | 3.1631 | 0.068 | 56730
2020-01-07 | 1.5011 |  | 1.7491 | 0.0515 | -0.0075 | 1.6846 | 2.3586 | 0.059 | 38450
2020-01-12 | 10.4375 |  | 10.3315 | 0.1265 | -0.0075 |  | 11.4936 | 0.134 |  | above gradations, ISCO 0.142 to 0.134
2020-01-25 | 0.31215 |  | 0.57198 | 0.0345 | -0.0075 | 0.36916 | 1.0563 | 0.042 | 8426
2020-02-01 | 0.76256 |  | 0.51158 | 0.0335 | -0.0075 | 0.84076 | 0.98853 | 0.041 | 19190
2020-02-16 | 0.21471 |  | 0.25194 | 0.029 | -0.01 | 0.26143 | 0.85594 | 0.039 | 5967 | bubbler blown out
2020-02-16 | 0.21471 |  | 0.20979 | 0.028 | -0.002 | 0.26143 | 0.30792 | 0.03 | 5967
2020-03-01 | 1.1052 |  | 1.125 | 0.043 | -0.008 | 1.2469 | 1.7104 | 0.051 | 28460
2020-03-06 | 7.039 |  | 6.543 | 0.099 | 0 | 5.8577 | 6.543 | 0.099 | 133700
2020-03-18 | 0.57369 |  | 0.60255 | 0.035 | -0.008 | 0.60374 | 1.125 | 0.043 | 13780 | wier leveled
2020-03-27 | 1.2986 |  | 1.3372 | 0.046 | -0.01 | 1.3823 | 2.1082 | 0.056 | 31550
2020-04-01 | 2.5945 |  | 2.6179 | 0.062 | -0.012 | 2.8487 | 3.7436 | 0.074 | 65020
2020-04-01 | 2.5945 |  | 2.6179 | 0.062 | -0.001 | 2.8487 | 2.7063 | 0.063 | 65020 | bubbler blown out
2020-04-08 | 0.894 |  | 0.92174 | 0.04 | -0.015 | 0.96694 | 2.0267 | 0.055 | 22070
2020-04-08 | 0.894 |  | 0.92174 | 0.04 | -0.005 | 0.96694 | 1.2655 | 0.045 | 22070 | bubbler blown out
2020-04-12 | 0.394 |  | 0.42282 | 0.032 | -0.013 | 0.54678 | 1.2655 | 0.045 | 12480
2020-04-12 | 0.394 |  | 0.42282 | 0.032 | -0.002 | 0.54678 | 0.54166 | 0.034 | 12480 | level changed in program to 0.034
2020-04-15 | 2.29 |  | 2.3586 | 0.059 | -0.002 | 2.4855 | 2.5305 | 0.061 | 56730
2020-04-24 | 0.30144 |  | 0.30792 | 0.03 | -0.003 | 0.3693 | 0.48175 | 0.033 | 8429
2020-04-24 | 0.30144 |  | 0.30792 | 0.03 | 0.003 | 0.3693 | 0.19298 | 0.027 | 8429 | bubbler blown out
2020-04-28 | 1.5456 |  | 1.5582 | 0.049 | -0.003 | 1.8436 | 1.788 | 0.052 | 42080
2020-05-03 | 0.56919 |  | 0.57198 | 0.0345 | -0.0165 | 0.71327 | 1.7104 | 0.051 | 16280
2020-05-03 | 0.56919 |  | 0.42282 | 0.032 | 0 | 0.71327 | 0.42282 | 0.032 | 16280 | bubbler blown out
2020-05-12 | 0.31956 |  | 0.30792 | 0.03 | -0.021 | 0.3693 | 1.7104 | 0.051 | 8429 | bubbler cleaned with a wire and blown out
2020-05-12 | 0.31956 |  | 0.30792 | 0.03 | 0 | 0.3693 | 0.30792 | 0.03 | 8429 | level changed in program to .03
2020-05-17 | 0.15141 |  | 0.16149 | 0.025 | -0.003 | 0.22108 | 0.20979 | 0.028 | 5046
2020-05-28 | 0.12623 |  | 0.13973 | 0.0235 | -0.0035 | 0.22108 | 0.19298 | 0.027 | 5046
2020-05-28 | 0.12623 |  | 0.14681 | 0.024 | 0 | 0.22108 | 0.14681 | 0.024 | 5046 | bubbler blown out
2020-05-31 | 0.044892 |  | 0.046479 | 0.015 | -0.004 | 0.063879 | 0.083995 | 0.019 | 1458 | <1458
2020-06-09 | 0.034719 |  | 0.038869 | 0.014 | -0.006 | 0.046617 | 0.095142 | 0.02 | 1064
2020-06-16 | 0.009542 |  | 0.011428 | 0.009 | -0.006 | 0.020329 | 0.046479 | 0.015 | 464
2020-06-16 | 0.009542 |  | 0.011428 | 0.009 | -0.003 | 0.020329 | 0.02577 | 0.012 | 464
2020-06-24 | -- |  | 0.002721 | 0.002 | -0.028 |  | 0.30792 | 0.03 | -- | oozing over V-notch
2020-06-24 | -- |  | 0.0018426 | 0.003 | 0 |  | 0.0018426 | 0.003 | -- | bubbler cleaned with a wire
| Bucket | adj Bucket | adj ISCO | adj ISCO | adjustmnt | Weir | ISCO | ISCO | Weir
| L/s | L/s | L/s | m | m | L/s | L/s | m | GPD
Note on C42: Don Ross: 21 L bucket was actually 23.1 Aubuchon 4 L bucket adjusted by .932
Note on B47: Don Ross: 5 qt
Note on C53: Don Ross: not reliable 5qt/2s and 5qt/3s
Note on J74: Don Ross: less than 16280
Note on C78: Don Ross: 21 L bucket was actually 23.1 Aubuchon 4 L bucket adjusted by .932
Note on B93: Don Ross: Should have used a larger bucket but not available. Approximate
Note on B95: Don Ross: High flow, approximate
Note on C130: Don Ross: 21 L bucket was actually 23.1 Aubuchon 4 L bucket adjusted by .932

## AHM
|  | L | s | L/s |  | Weir (gal/d) | Weir (L/s) | ISCO level (m) | (ft) | time |  | adjusted m (-.0132) | L/s
2018-04-20 |  | 3.75 | 3.82 | 0.98168 |  | 25120 | 1.1005 | 0.06096 | 0.2 | (set arbitrarily at 0.20 ft) |  | 0.04096 | 0.98583
|  | 4 | 4.12 | 0.97087
|  | 3.4 | 3.49 | 0.97421
0.97559
2018-04-26 |  | ~4 gal | 2.37 | 7.173 |  | nd |  | 0.11186 | 0.367 | 15:20 |  | 0.091862 | 5.681
|  | 17 | 2.41 | 7.0539 |  |  |  | 0.11308 | 0.371 | 15:35 |  | 0.093081 | 5.8247
|  |  | 2.43 | 6.9959 | [7 empty] | 0.092471 | 5.7528
7.0743
2018-04-28 |  | ~4 gal | 16.26 | 1.0455 |  | 25120 | 1.1005 | 0.064008 | 0.21 | 13:50 |  | 0.044008 | 1.1953
|  |  | 16.04 | 1.0599
|  |  | 16.15 | 1.0526
1.0527
2018-05-03 |  | ~4 gal | 19.85 | 0.85642 |  | 19190 | 0.8407 | 0.039 |  | 14:27 | (adjusted from 0.059 to 0.039) | 0.039 | 0.85594
|  |  | 19.75 | 0.86076
0.85859
2018-05-09 |  | ~4 gal | 41.62 | 0.40846 |  | 11180 | 0.4898 | 0.032 |  | 13:59 |  | 0.032 | 0.42282
2018-05-15 |  |  | 115 | 0.14783 |  | 5046 | 0.2211 | 0.025 |  | 9:30 |  | 0.025 | 0.16149
2018-05-22 |  |  | 296.9 | 0.057258 |  | 735 | 0.0322 | 0.016 |  | 9:40 |  | 0.016 | 0.054797
| Bucket | Weir | Weir | ISCO | ISCO
| L/s | GPD | L/s | m | L/s
2018-04-20 | 0.97559 | 25120 | 1.1005 | 0.041 | 0.98583
2018-04-28 | 1.0527 | 25120 | 1.1005 | 0.044008 | 1.1953
2018-05-03 | 0.85859 | 19190 | 0.8407 | 0.039 | 0.85594
2018-05-09 | 0.40846 | 11180 | 0.4898 | 0.032 | 0.42282
2018-05-15 | 0.14783 | 5046 | 0.2211 | 0.025 | 0.16149
2018-05-22 | 0.057258 | 735 | 0.0322 | 0.016 | 0.054797

## Thelmar data
m | m | L/s
0.005 | 0.005 | 0.0025
0.007 | 0.007 | 0.005
0.009 | 0.009 | 0.0114
0.011 | 0.011 | 0.0203
0.013 | 0.013 | 0.0322
0.015 | 0.015 | 0.0466
0.017 | 0.017 | 0.0639
0.019 | 0.019 | 0.0839
0.021 | 0.021 | 0.1069
0.023 | 0.023 | 0.1328
0.025 | 0.025 | 0.1616
0.027 | 0.027 | 0.2211
0.029 | 0.029 | 0.2614
0.031 | 0.031 | 0.3693
0.033 | 0.033 | 0.4898
0.035 | 0.035 | 0.6037
0.037 | 0.037 | 0.7132
0.039 | 0.039 | 0.8407
0.041 | 0.041 | 0.9668
0.043 | 0.043 | 1.1005
0.045 | 0.045 | 1.2468
0.047 | 0.047 | 1.3821
0.049 | 0.049 | 1.5306
0.051 | 0.051 | 1.6844
0.053 | 0.053 | 1.8434
0.055 | 0.055 | 2.0073
0.057 | 0.057 | 2.1755
0.059 | 0.059 | 2.3104
0.061 | 0.061 | 2.4852
0.063 | 0.063 | 2.6648
0.065 | 0.065 | 2.8484
0.067 | 0.067 | 3.0363
0.069 | 0.069 | 3.2282
0.071 | 0.071 | 3.424
0.073 | 0.073 | 3.6242
0.075 | 0.075 | 3.8279
0.077 | 0.077 | 4.0351
0.079 | 0.079 | 4.2459
0.081 | 0.081 | 4.4605
0.083 | 0.083 | 4.6782
0.085 | 0.085 | 4.899
0.087 | 0.087 | 5.1233
0.089 | 0.089 | 5.3503
0.091 | 0.091 | 5.5807
0.093 | 0.093 | 5.8571
0.095 | 0.095 | 6.0994 |  | Off at the low end!
0.097 | 0.097 | 6.3399
0.099 | 0.099 | 6.6102
0.101 | 0.101 | 6.884
0.103 | 0.103 | 7.1345
0.105 | 0.105 | 7.3894
0.107 | 0.107 | 7.6405
0.109 | 0.109 | 7.8968
0.111 | 0.111 | 8.1548
0.113 | 0.113 | 8.4146
0.115 | 0.115 | 8.6761
0.117 | 0.117 | 8.9394
0.119 | 0.119 | 9.204
0.121 | 0.121 | 9.4699
0.123 | 0.123 | 9.7372
0.125 | 0.125 | 10.0057
0.127 | 0.127 | 10.2756 | 234535.4322
| 0.128 | 10.5595
| 0.138 | 12.136
| 0.148 | 13.8108
| 0.158 | 15.5839
| 0.168 | 17.4552
| 0.178 | 19.4247
| 0.188 | 21.4925
| 0.198 | 23.6585
| 0.208 | 25.9228
| 0.218 | 28.2853
| 0.228 | 30.746
| 0.238 | 33.305
| 0.248 | 35.9622
| 0.258 | 38.7176
| 0.268 | 41.5713
| 0.278 | 44.5232
| 0.288 | 47.5734
| 0.298 | 50.7218
| 0.308 | 53.9685
| 0.318 | 57.3134
| 0.328 | 60.7565
| 0.338 | 64.2979
| 0.348 | 67.9375
| 0.358 | 71.6753
| 0.368 | 75.5114
| 0.378 | 79.4458
| 0.388 | 83.4783
| 0.398 | 87.6091
| 0.408 | 91.8382
| 0.418 | 96.1655
| 0.428 | 100.591
| 0.438 | 105.1148